17th Edition Regulations

	[image: image1.jpg]




	The new 17th Edition of the regulations came into effect in 2008 .

This course is designed for persons wanting to update their understanding of the regulations.

Course duration will vary according to candidates’ understanding and relative qualifications:
· 1 day upgrade

· 2 day upgrade

· 3 days full course




The course is aimed at;

Persons wanting to have a greater understanding of the regulations and how they affect the electrical work being carried out - to ensure it is up to the correct BS 7671 standards.

The course has been designed to help learners to find the information required within the regulations and to develop a good understanding of each part to assist in this process.
The course;

Starts with the structure of the Regulations.
Identifying the different parts and how they relate to the work being carried out by electricians
Protection, the use of fuses, mcb’s and RCD’s to protect against electric shock.

Requirements of the regulations concerning bonding and earth connections within an installation

Assessment;
On line exam of 60 questions (2 hour open book)
