1 Day Electrical Awareness Course

(Overview)

The Electrical Awareness course is designed for people who work in the construction industry where their electrical knowledge is limited, but where individuals need to be aware of the hazards posed by electricity.

The course gives an overview of the legislative requirements and non-statutory regulations that must be complied with, combined with basic safety and isolation procedures.

Course covers
08:00 am

- Introduction and overview

- Employer/employee responsibilities under the Health & safety at Work act

- An overview of the Electricity at Work Regulations

- Introduction to BS7671 and its relationship to statutory legislation

10:00 Break

- Understanding of electric shock and its effects on the body

- Safe isolation procedure/ theory

- Protective devices

12:30 Break

- Safe isolation procedure/ practical assessment

- Questions and Answers

16:00

- Depart